## working sheet
WBAssay02_SEACTN_20231107_Ba776
Source Data Recording for Molecular Diagnosis Test
Testing laboratory: |  | Molecular Laboratory, Mahidol-Oxford Tropical Medicine Research Unit
Preformed by |  | PaR
Date of perform: |  | 2023-11-07
Aim: |  | Je1CDZ-Clinical sample-Chiang Rai-6
Reagent details: |  | Kit/ Reagents | Company | size | Expiry date (month/year) | Thaw No. | Prepared/ Received date | Aliquot no.
Taq polymerase
|  | qScript® XLT One-Step RT-qPCR ToughMix® | Quantabio | 100Rxn per tube, 5 tubes per bag | 2025-10-01 | 1 | 2024-12-14 | 19/20, T1/5
|  | Je1CDZ Mix | MoMiLDE | 100 Rxn |  | 1 | 2025-02-06 | T7/10
|  | Positive prep date: | 2025-01-21 | No. of freeze-thaw-cycles: ___6___
|  | STD Vir BL: | 1
| Number of clinical samples: |  |  | 88 |  |  | ☐ Clean working areas
| Number of control: |  |  | 4 |  |  | ☐ Clean pipettes
| Number of NTC: |  |  | 1 |  |  | ☐ Prepare ice tubs
| Number of reactions for all conditions : |  |  | 93 |  |  | ☐ Turn on Real Time PCR
| Total of prepared PCR reaction (7% ) : |  |  | 100 |  |  | ☐ Turn on centrifuge
| (Note: reduce to 5% if use only 50 Rxn) | [5 empty] | ☐ Aliquot into the 8-strip-tuges
| Je1CDZ mix |  | 1X | 100X |  |  | ☐ Change the new tip 200 ul, LTS
| Je1CDZ ___/10 |  | 5 | 500 |  |  | ☐ Aliquot into the 90 well plate, 15ul each corresponding the plate in the next page.
| qScript® XLT One-Step |  | 10 | 1000
| DNA |  | 5 |  |  |  | Aliquot into a 8-tube-strip
| Total |  | 20 | 1500 | --> aliquoting to |  | each tube | wells in a row | row in a plate | total volume | Volume aliquot (8-tube-strip) | Pos
[5 empty] | 15 | ul | 16.5 | 12 | 5 | 990 | 198 | A-E
[7 empty] | 16.5 | 11 | 3 | 544.5 | 181 | F-H
| Profile name: | Panuvit/WBVir00_63_5jt |  | Kept data: | Panuvit/vir_results
| 1) | 55.0 °C | 20 | min |  |  | ☐ Return the remaining Enzyme to -20 C freezer
| 2) | 94.0 °C | 2 | min |  |  | ☐ Vortex mix 10 sec 3 times
| 3) | 94.0 °C | 15 | sec |  |  | ☐ Return the remaining mix to -20 C freezer
| 4) | 63.5 °C | 40 | sec
| 5) | read all signal channel including dyes
| 6) | Go to 2) for 44 times
| 7) | 25 °C | 5 | min
|  | Dye | Target | Threshold | Cycle | Intensity (RFU) | Cq | QC check for control (neg, pos) | QC check for unknown (for Cy5 only) | Summary results for unknown (n/N)
|  | Cy5 | Human | 25 | <38 | 60-170 | 32.82-42.58 | pass, na | pass | na
|  | FAM | Je/Zk | 100 | <40 | 580-860 | 27.14-37.20 | pass, pass | na | 0/80
|  | Tex | Den | 100 | < 38 | na | na | pass, na | na | 0/80
|  | Cy5.5 | Ck | 100 | <40 | 620-820 | 25.82-35.48 | pass, pass | na | 0/80
Sample position on the 96-well plate
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | NA-SEA-040-02-09 | NA-SEA-040-03-17 | NA-SEA-040-04-25 | NA-SEA-040-05-33 | NA-SEA-040-06-41 | NA-SEA-040-07-49 | NA-SEA-040-08-57 | NA-SEA-040-09-65 | NA-SEA-040-10-73 | NA-SEA-040-11-81 | Zk_3 | Ck1_3
B | NA-SEA-040-02-10 | NA-SEA-040-03-18 | NA-SEA-040-04-26 | NA-SEA-040-05-34 | NA-SEA-040-06-42 | NA-SEA-040-07-50 | NA-SEA-040-08-58 | NA-SEA-040-09-66 | NA-SEA-040-10-74 | NA-SEA-040-11-82 | Zk_2 | Ck1_2
C | NA-SEA-040-02-11 | NA-SEA-040-03-19 | NA-SEA-040-04-27 | NA-SEA-040-05-35 | NA-SEA-040-06-43 | NA-SEA-040-07-51 | NA-SEA-040-08-59 | NA-SEA-040-09-67 | NA-SEA-040-10-75 | NA-SEA-040-11-83 | Zk_1 | Ck1_1
D | NA-SEA-040-02-12 | NA-SEA-040-03-20 | NA-SEA-040-04-28 | NA-SEA-040-05-36 | NA-SEA-040-06-44 | NA-SEA-040-07-52 | NA-SEA-040-08-60 | NA-SEA-040-09-68 | NA-SEA-040-10-76 | NA-SEA-040-11-84 | Zk_0 | Ck1_0
E | NA-SEA-040-02-13 | NA-SEA-040-03-21 | NA-SEA-040-04-29 | NA-SEA-040-05-37 | NA-SEA-040-06-45 | NA-SEA-040-07-53 | NA-SEA-040-08-61 | NA-SEA-040-09-69 | NA-SEA-040-10-77 | NA-SEA-040-11-85
F | NA-SEA-040-02-14 | NA-SEA-040-03-22 | NA-SEA-040-04-30 | NA-SEA-040-05-38 | NA-SEA-040-06-46 | NA-SEA-040-07-54 | NA-SEA-040-08-62 | NA-SEA-040-09-70 | NA-SEA-040-10-78 | NA-SEA-040-11-86
G | NA-SEA-040-02-15 | NA-SEA-040-03-23 | NA-SEA-040-04-31 | NA-SEA-040-05-39 | NA-SEA-040-06-47 | NA-SEA-040-07-55 | NA-SEA-040-08-63 | NA-SEA-040-09-71 | NA-SEA-040-10-79 | NA-SEA-040-11-87
H | NA-SEA-040-02-16 | NA-SEA-040-03-24 | NA-SEA-040-04-32 | NA-SEA-040-05-40 | NA-SEA-040-06-48 | NA-SEA-040-07-56 | NA-SEA-040-08-64 | NA-SEA-040-09-72 | NA-SEA-040-10-80 | NA-SEA-040-11-88 | NEG | NTC
| Row | Column | *Sample Name | Cy5/RNP | FAM/JeZk | Cy5.5/Ck | TEX/De | Interpretation | Note
| A | 11 | Zk_3 | 33.9246 | 27.1405 | NaN | NaN | Zk Pass
| A | 12 | Ck1_3 | 37.8016 | NaN | 25.8209 | NaN | Ck Pass
| B | 11 | Zk_2 | 32.8222 | 29.7372 | NaN | NaN | Zk Pass
| B | 12 | Ck1_2 | 37.2876 | NaN | 29.1098 | NaN | Ck Pass
| C | 11 | Zk_1 | 33.544 | 33.4719 | NaN | NaN | Zk Pass
| C | 12 | Ck1_1 | 42.5829 | NaN | 32.3832 | NaN | Ck Pass
| D | 11 | Zk_0 | 33.641 | 37.2011 | NaN | NaN | Zk Pass
| D | 12 | Ck1_0 | 34.0586 | NaN | 35.477 | NaN | Ck Pass
| H | 11 | NEG | 33.7445 | NaN | NaN | NaN | NEG Pass
| H | 12 | NTC | NaN | NaN | NaN | NaN | NTC Pass
|  | Performer: | PsR and PrT |  | Source prep and signal read: |  | PrT |  | Reviewer: | PeR
|  | Date: | 2025-02-14 |  | Date: |  | 2025-03-12 |  | Date: | 2025-03-31

## PCRTemplate
Row | Column | *Target Name | *Sample Name | *Biological Group | Cy5/RNP | FAM/JeZk | Cy5.5/Ck | TEX/De | Interpretation | Note
A | 1 |  | NA-SEA-040-02-09 |  | 34.7965 | NaN | NaN | NaN | No detection
A | 2 |  | NA-SEA-040-03-17 |  | 36.5421 | NaN | NaN | NaN | No detection
A | 3 |  | NA-SEA-040-04-25 |  | 32.6849 | NaN | 35.3786 | NaN | No detection | Linear Signal
A | 4 |  | NA-SEA-040-05-33 |  | 35.3536 | NaN | NaN | NaN | No detection
A | 5 |  | NA-SEA-040-06-41 |  | 30.7749 | NaN | NaN | NaN | No detection
A | 6 |  | NA-SEA-040-07-49 |  | 31.0061 | NaN | NaN | NaN | No detection
A | 7 |  | NA-SEA-040-08-57 |  | 31.379 | NaN | NaN | NaN | No detection
A | 8 |  | NA-SEA-040-09-65 |  | 31.5325 | NaN | NaN | NaN | No detection
A | 9 |  | NA-SEA-040-10-73 |  | 31.3765 | NaN | NaN | NaN | No detection
A | 10 |  | NA-SEA-040-11-81 |  | 34.932 | NaN | NaN | NaN | No detection
A | 11 |  | Zk_3 |  | 33.9246 | 27.1405 | NaN | NaN | Zk Pass
A | 12 |  | Ck1_3 |  | 37.8016 | NaN | 25.8209 | NaN | Ck Pass
B | 1 |  | NA-SEA-040-02-10 |  | 35.4962 | NaN | NaN | NaN | No detection
B | 2 |  | NA-SEA-040-03-18 |  | 35.2808 | NaN | NaN | NaN | No detection
B | 3 |  | NA-SEA-040-04-26 |  | 35.5721 | NaN | NaN | NaN | No detection
B | 4 |  | NA-SEA-040-05-34 |  | 33.3847 | NaN | NaN | NaN | No detection
B | 5 |  | NA-SEA-040-06-42 |  | 30.847 | NaN | NaN | NaN | No detection
B | 6 |  | NA-SEA-040-07-50 |  | 31.7955 | NaN | NaN | NaN | No detection
B | 7 |  | NA-SEA-040-08-58 |  | 32.0693 | NaN | NaN | NaN | No detection
B | 8 |  | NA-SEA-040-09-66 |  | 31.2665 | NaN | NaN | NaN | No detection
B | 9 |  | NA-SEA-040-10-74 |  | 31.5694 | NaN | NaN | NaN | No detection
B | 10 |  | NA-SEA-040-11-82 |  | 32.8862 | NaN | NaN | NaN | No detection
B | 11 |  | Zk_2 |  | 32.8222 | 29.7372 | NaN | NaN | Zk Pass
B | 12 |  | Ck1_2 |  | 37.2876 | NaN | 29.1098 | NaN | Ck Pass
C | 1 |  | NA-SEA-040-02-11 |  | 36.1391 | NaN | NaN | NaN | No detection
C | 2 |  | NA-SEA-040-03-19 |  | 31.3556 | NaN | NaN | NaN | No detection
C | 3 |  | NA-SEA-040-04-27 |  | 35.0877 | NaN | NaN | NaN | No detection
C | 4 |  | NA-SEA-040-05-35 |  | 36.3118 | NaN | NaN | NaN | No detection
C | 5 |  | NA-SEA-040-06-43 |  | 31.446 | NaN | NaN | NaN | No detection
C | 6 |  | NA-SEA-040-07-51 |  | 31.575 | NaN | NaN | NaN | No detection
C | 7 |  | NA-SEA-040-08-59 |  | 31.9529 | NaN | NaN | NaN | No detection
C | 8 |  | NA-SEA-040-09-67 |  | 31.7835 | NaN | NaN | NaN | No detection
C | 9 |  | NA-SEA-040-10-75 |  | 35.8313 | NaN | NaN | NaN | No detection
C | 10 |  | NA-SEA-040-11-83 |  | 35.033 | NaN | NaN | NaN | No detection
C | 11 |  | Zk_1 |  | 33.544 | 33.4719 | NaN | NaN | Zk Pass
C | 12 |  | Ck1_1 |  | 42.5829 | NaN | 32.3832 | NaN | Ck Pass
D | 1 |  | NA-SEA-040-02-12 |  | 36.4605 | NaN | NaN | NaN | No detection
D | 2 |  | NA-SEA-040-03-20 |  | 35.6975 | NaN | NaN | NaN | No detection
D | 3 |  | NA-SEA-040-04-28 |  | 35.9368 | NaN | NaN | NaN | No detection
D | 4 |  | NA-SEA-040-05-36 |  | 36.3034 | NaN | NaN | NaN | No detection
D | 5 |  | NA-SEA-040-06-44 |  | 33.0212 | NaN | NaN | NaN | No detection
D | 6 |  | NA-SEA-040-07-52 |  | 31.2526 | NaN | NaN | NaN | No detection
D | 7 |  | NA-SEA-040-08-60 |  | 33.749 | NaN | NaN | NaN | No detection
D | 8 |  | NA-SEA-040-09-68 |  | 32.6079 | NaN | NaN | NaN | No detection
D | 9 |  | NA-SEA-040-10-76 |  | 35.358 | NaN | NaN | NaN | No detection
D | 10 |  | NA-SEA-040-11-84 |  | 34.941 | NaN | 35.5048 | NaN | No detection | Linear Signal
D | 11 |  | Zk_0 |  | 33.641 | 37.2011 | NaN | NaN | Zk Pass
D | 12 |  | Ck1_0 |  | 34.0586 | NaN | 35.477 | NaN | Ck Pass
E | 1 |  | NA-SEA-040-02-13 |  | 34.4288 | NaN | NaN | NaN | No detection
E | 2 |  | NA-SEA-040-03-21 |  | 33.2416 | NaN | NaN | NaN | No detection
E | 3 |  | NA-SEA-040-04-29 |  | 34.4393 | NaN | NaN | NaN | No detection
E | 4 |  | NA-SEA-040-05-37 |  | 34.5682 | NaN | NaN | NaN | No detection
E | 5 |  | NA-SEA-040-06-45 |  | 31.1751 | NaN | NaN | NaN | No detection
E | 6 |  | NA-SEA-040-07-53 |  | 34.9243 | NaN | NaN | NaN | No detection
E | 7 |  | NA-SEA-040-08-61 |  | 32.355 | NaN | NaN | NaN | No detection
E | 8 |  | NA-SEA-040-09-69 |  | 34.0597 | NaN | NaN | NaN | No detection
E | 9 |  | NA-SEA-040-10-77 |  | 35.3922 | NaN | NaN | NaN | No detection
E | 10 |  | NA-SEA-040-11-85 |  | 34.4594 | NaN | NaN | NaN | No detection
E | 11 |  | 0 |  | NaN | NaN | NaN | NaN
E | 12 |  | 0 |  | NaN | NaN | NaN | NaN
F | 1 |  | NA-SEA-040-02-14 |  | 35.8178 | NaN | NaN | NaN | No detection
F | 2 |  | NA-SEA-040-03-22 |  | 34.4635 | NaN | NaN | NaN | No detection
F | 3 |  | NA-SEA-040-04-30 |  | 33.7383 | NaN | NaN | NaN | No detection
F | 4 |  | NA-SEA-040-05-38 |  | 35.4526 | NaN | NaN | NaN | No detection
F | 5 |  | NA-SEA-040-06-46 |  | 32.6043 | NaN | NaN | NaN | No detection
F | 6 |  | NA-SEA-040-07-54 |  | 34.1888 | NaN | NaN | NaN | No detection
F | 7 |  | NA-SEA-040-08-62 |  | 33.9277 | NaN | NaN | NaN | No detection
F | 8 |  | NA-SEA-040-09-70 |  | 33.8338 | NaN | NaN | NaN | No detection
F | 9 |  | NA-SEA-040-10-78 |  | 34.5149 | NaN | NaN | NaN | No detection
F | 10 |  | NA-SEA-040-11-86 |  | 34.9161 | NaN | NaN | NaN | No detection
F | 11 |  | 0 |  | NaN | NaN | NaN | NaN
F | 12 |  | 0 |  | NaN | NaN | NaN | NaN
G | 1 |  | NA-SEA-040-02-15 |  | 36.0691 | NaN | NaN | NaN | No detection
G | 2 |  | NA-SEA-040-03-23 |  | 34.3022 | NaN | NaN | NaN | No detection
G | 3 |  | NA-SEA-040-04-31 |  | 34.3083 | NaN | NaN | NaN | No detection
G | 4 |  | NA-SEA-040-05-39 |  | 36.2581 | NaN | NaN | NaN | No detection
G | 5 |  | NA-SEA-040-06-47 |  | 36.1643 | NaN | NaN | NaN | No detection
G | 6 |  | NA-SEA-040-07-55 |  | 33.1953 | NaN | NaN | NaN | No detection
G | 7 |  | NA-SEA-040-08-63 |  | 34.9821 | NaN | NaN | NaN | No detection
G | 8 |  | NA-SEA-040-09-71 |  | 33.4625 | NaN | NaN | NaN | No detection
G | 9 |  | NA-SEA-040-10-79 |  | 32.5873 | NaN | NaN | NaN | No detection
G | 10 |  | NA-SEA-040-11-87 |  | 36.4872 | NaN | NaN | NaN | No detection
G | 11 |  | 0 |  | NaN | NaN | NaN | NaN
G | 12 |  | 0 |  | NaN | NaN | NaN | NaN
H | 1 |  | NA-SEA-040-02-16 |  | 36.8482 | NaN | NaN | NaN | No detection
H | 2 |  | NA-SEA-040-03-24 |  | 34.4577 | NaN | NaN | NaN | No detection
H | 3 |  | NA-SEA-040-04-32 |  | 33.7846 | NaN | NaN | NaN | No detection
H | 4 |  | NA-SEA-040-05-40 |  | 33.7908 | NaN | NaN | NaN | No detection
H | 5 |  | NA-SEA-040-06-48 |  | 31.4224 | NaN | NaN | 42.17 | No detection | Noise TEX at 200 RFU
H | 6 |  | NA-SEA-040-07-56 |  | 34.5444 | NaN | NaN | NaN | No detection
H | 7 |  | NA-SEA-040-08-64 |  | 34.806 | NaN | NaN | NaN | No detection
H | 8 |  | NA-SEA-040-09-72 |  | 33.6458 | NaN | NaN | NaN | No detection
H | 9 |  | NA-SEA-040-10-80 |  | 32.8653 | NaN | NaN | NaN | No detection
H | 10 |  | NA-SEA-040-11-88 |  | 35.2015 | NaN | NaN | NaN | No detection
H | 11 |  | NEG |  | 33.7445 | NaN | NaN | NaN | NEG Pass
H | 12 |  | NTC |  | NaN | NaN | NaN | NaN | NTC Pass

## realtime_data
File Name | aBa776_WBVir02_63_5_20231121_151603_795BR20506_20241202_20250324.pcrd
Created By User | ADMIN
Notes
ID
Run Started | 11/21/2023 08:16:30 UTC
Run Ended | 11/21/2023 09:52:45 UTC
Sample Vol | 20
Lid Temp | 105
Protocol File Name | Unknown.prcl
Plate Setup File Name | Blood_Virus_Plate.pltd
Base Serial Number | 795BR20506
Optical Head Serial Number | 795BR20506
CFX Maestro Version | 5.3.022.1030.
Well group | All Wells
Amplification step | 4
Melt step
Well | Fluor | Content | Sample | Cq
A01 | Cy5 | Unkn | NA-SEA-040-02-09 | 34.7965
A02 | Cy5 | Unkn | NA-SEA-040-03-17 | 36.5421
A03 | Cy5 | Unkn | NA-SEA-040-04-25 | 32.6849
A04 | Cy5 | Unkn | NA-SEA-040-05-33 | 35.3536
A05 | Cy5 | Unkn | NA-SEA-040-06-41 | 30.7749
A06 | Cy5 | Unkn | NA-SEA-040-07-49 | 31.0061
A07 | Cy5 | Unkn | NA-SEA-040-08-57 | 31.379
A08 | Cy5 | Unkn | NA-SEA-040-09-65 | 31.5325
A09 | Cy5 | Unkn | NA-SEA-040-10-73 | 31.3765
A10 | Cy5 | Unkn | NA-SEA-040-11-81 | 34.932
A11 | Cy5 | Pos Ctrl | Zk_3 | 33.9246
A12 | Cy5 | Pos Ctrl | Ck1_3 | 37.8016
B01 | Cy5 | Unkn | NA-SEA-040-02-10 | 35.4962
B02 | Cy5 | Unkn | NA-SEA-040-03-18 | 35.2808
B03 | Cy5 | Unkn | NA-SEA-040-04-26 | 35.5721
B04 | Cy5 | Unkn | NA-SEA-040-05-34 | 33.3847
B05 | Cy5 | Unkn | NA-SEA-040-06-42 | 30.847
B06 | Cy5 | Unkn | NA-SEA-040-07-50 | 31.7955
B07 | Cy5 | Unkn | NA-SEA-040-08-58 | 32.0693
B08 | Cy5 | Unkn | NA-SEA-040-09-66 | 31.2665
B09 | Cy5 | Unkn | NA-SEA-040-10-74 | 31.5694
B10 | Cy5 | Unkn | NA-SEA-040-11-82 | 32.8862
B11 | Cy5 | Pos Ctrl | Zk_2 | 32.8222
B12 | Cy5 | Pos Ctrl | Ck1_2 | 37.2876
C01 | Cy5 | Unkn | NA-SEA-040-02-11 | 36.1391
C02 | Cy5 | Unkn | NA-SEA-040-03-19 | 31.3556
C03 | Cy5 | Unkn | NA-SEA-040-04-27 | 35.0877
C04 | Cy5 | Unkn | NA-SEA-040-05-35 | 36.3118
C05 | Cy5 | Unkn | NA-SEA-040-06-43 | 31.446
C06 | Cy5 | Unkn | NA-SEA-040-07-51 | 31.575
C07 | Cy5 | Unkn | NA-SEA-040-08-59 | 31.9529
C08 | Cy5 | Unkn | NA-SEA-040-09-67 | 31.7835
C09 | Cy5 | Unkn | NA-SEA-040-10-75 | 35.8313
C10 | Cy5 | Unkn | NA-SEA-040-11-83 | 35.033
C11 | Cy5 | Pos Ctrl | Zk_1 | 33.544
C12 | Cy5 | Pos Ctrl | Ck1_1 | 42.5829
D01 | Cy5 | Unkn | NA-SEA-040-02-12 | 36.4605
D02 | Cy5 | Unkn | NA-SEA-040-03-20 | 35.6975
D03 | Cy5 | Unkn | NA-SEA-040-04-28 | 35.9368
D04 | Cy5 | Unkn | NA-SEA-040-05-36 | 36.3034
D05 | Cy5 | Unkn | NA-SEA-040-06-44 | 33.0212
D06 | Cy5 | Unkn | NA-SEA-040-07-52 | 31.2526
D07 | Cy5 | Unkn | NA-SEA-040-08-60 | 33.749
D08 | Cy5 | Unkn | NA-SEA-040-09-68 | 32.6079
D09 | Cy5 | Unkn | NA-SEA-040-10-76 | 35.358
D10 | Cy5 | Unkn | NA-SEA-040-11-84 | 34.941
D11 | Cy5 | Pos Ctrl | Zk_0 | 33.641
D12 | Cy5 | Pos Ctrl | Ck1_0 | 34.0586
E01 | Cy5 | Unkn | NA-SEA-040-02-13 | 34.4288
E02 | Cy5 | Unkn | NA-SEA-040-03-21 | 33.2416
E03 | Cy5 | Unkn | NA-SEA-040-04-29 | 34.4393
E04 | Cy5 | Unkn | NA-SEA-040-05-37 | 34.5682
E05 | Cy5 | Unkn | NA-SEA-040-06-45 | 31.1751
E06 | Cy5 | Unkn | NA-SEA-040-07-53 | 34.9243
E07 | Cy5 | Unkn | NA-SEA-040-08-61 | 32.355
E08 | Cy5 | Unkn | NA-SEA-040-09-69 | 34.0597
E09 | Cy5 | Unkn | NA-SEA-040-10-77 | 35.3922
E10 | Cy5 | Unkn | NA-SEA-040-11-85 | 34.4594
E11 | Cy5 | Pos Ctrl | 0 | NaN
E12 | Cy5 | Pos Ctrl | 0 | NaN
F01 | Cy5 | Unkn | NA-SEA-040-02-14 | 35.8178
F02 | Cy5 | Unkn | NA-SEA-040-03-22 | 34.4635
F03 | Cy5 | Unkn | NA-SEA-040-04-30 | 33.7383
F04 | Cy5 | Unkn | NA-SEA-040-05-38 | 35.4526
F05 | Cy5 | Unkn | NA-SEA-040-06-46 | 32.6043
F06 | Cy5 | Unkn | NA-SEA-040-07-54 | 34.1888
F07 | Cy5 | Unkn | NA-SEA-040-08-62 | 33.9277
F08 | Cy5 | Unkn | NA-SEA-040-09-70 | 33.8338
F09 | Cy5 | Unkn | NA-SEA-040-10-78 | 34.5149
F10 | Cy5 | Unkn | NA-SEA-040-11-86 | 34.9161
F11 | Cy5 | Pos Ctrl | 0 | NaN
F12 | Cy5 | Pos Ctrl | 0 | NaN
G01 | Cy5 | Unkn | NA-SEA-040-02-15 | 36.0691
G02 | Cy5 | Unkn | NA-SEA-040-03-23 | 34.3022
G03 | Cy5 | Unkn | NA-SEA-040-04-31 | 34.3083
G04 | Cy5 | Unkn | NA-SEA-040-05-39 | 36.2581
G05 | Cy5 | Unkn | NA-SEA-040-06-47 | 36.1643
G06 | Cy5 | Unkn | NA-SEA-040-07-55 | 33.1953
G07 | Cy5 | Unkn | NA-SEA-040-08-63 | 34.9821
G08 | Cy5 | Unkn | NA-SEA-040-09-71 | 33.4625
G09 | Cy5 | Unkn | NA-SEA-040-10-79 | 32.5873
G10 | Cy5 | Unkn | NA-SEA-040-11-87 | 36.4872
G11 | Cy5 | Pos Ctrl | 0 | NaN
G12 | Cy5 | Pos Ctrl | 0 | NaN
H01 | Cy5 | Unkn | NA-SEA-040-02-16 | 36.8482
H02 | Cy5 | Unkn | NA-SEA-040-03-24 | 34.4577
H03 | Cy5 | Unkn | NA-SEA-040-04-32 | 33.7846
H04 | Cy5 | Unkn | NA-SEA-040-05-40 | 33.7908
H05 | Cy5 | Unkn | NA-SEA-040-06-48 | 31.4224
H06 | Cy5 | Unkn | NA-SEA-040-07-56 | 34.5444
H07 | Cy5 | Unkn | NA-SEA-040-08-64 | 34.806
H08 | Cy5 | Unkn | NA-SEA-040-09-72 | 33.6458
H09 | Cy5 | Unkn | NA-SEA-040-10-80 | 32.8653
H10 | Cy5 | Unkn | NA-SEA-040-11-88 | 35.2015
H11 | Cy5 | Neg Ctrl | NEG | 33.7445
H12 | Cy5 | NTC | NTC | NaN
A01 | Cy5-5 | Unkn | NA-SEA-040-02-09 | NaN
A02 | Cy5-5 | Unkn | NA-SEA-040-03-17 | NaN
A03 | Cy5-5 | Unkn | NA-SEA-040-04-25 | 35.3786
A04 | Cy5-5 | Unkn | NA-SEA-040-05-33 | NaN
A05 | Cy5-5 | Unkn | NA-SEA-040-06-41 | NaN
A06 | Cy5-5 | Unkn | NA-SEA-040-07-49 | NaN
A07 | Cy5-5 | Unkn | NA-SEA-040-08-57 | NaN
A08 | Cy5-5 | Unkn | NA-SEA-040-09-65 | NaN
A09 | Cy5-5 | Unkn | NA-SEA-040-10-73 | NaN
A10 | Cy5-5 | Unkn | NA-SEA-040-11-81 | NaN
A11 | Cy5-5 | Pos Ctrl | Zk_3 | NaN
A12 | Cy5-5 | Pos Ctrl | Ck1_3 | 25.8209
B01 | Cy5-5 | Unkn | NA-SEA-040-02-10 | NaN
B02 | Cy5-5 | Unkn | NA-SEA-040-03-18 | NaN
B03 | Cy5-5 | Unkn | NA-SEA-040-04-26 | NaN
B04 | Cy5-5 | Unkn | NA-SEA-040-05-34 | NaN
B05 | Cy5-5 | Unkn | NA-SEA-040-06-42 | NaN
B06 | Cy5-5 | Unkn | NA-SEA-040-07-50 | NaN
B07 | Cy5-5 | Unkn | NA-SEA-040-08-58 | NaN
B08 | Cy5-5 | Unkn | NA-SEA-040-09-66 | NaN
B09 | Cy5-5 | Unkn | NA-SEA-040-10-74 | NaN
B10 | Cy5-5 | Unkn | NA-SEA-040-11-82 | NaN
B11 | Cy5-5 | Pos Ctrl | Zk_2 | NaN
B12 | Cy5-5 | Pos Ctrl | Ck1_2 | 29.1098
C01 | Cy5-5 | Unkn | NA-SEA-040-02-11 | NaN
C02 | Cy5-5 | Unkn | NA-SEA-040-03-19 | NaN
C03 | Cy5-5 | Unkn | NA-SEA-040-04-27 | NaN
C04 | Cy5-5 | Unkn | NA-SEA-040-05-35 | NaN
C05 | Cy5-5 | Unkn | NA-SEA-040-06-43 | NaN
C06 | Cy5-5 | Unkn | NA-SEA-040-07-51 | NaN
C07 | Cy5-5 | Unkn | NA-SEA-040-08-59 | NaN
C08 | Cy5-5 | Unkn | NA-SEA-040-09-67 | NaN
C09 | Cy5-5 | Unkn | NA-SEA-040-10-75 | NaN
C10 | Cy5-5 | Unkn | NA-SEA-040-11-83 | NaN
C11 | Cy5-5 | Pos Ctrl | Zk_1 | NaN
C12 | Cy5-5 | Pos Ctrl | Ck1_1 | 32.3832
D01 | Cy5-5 | Unkn | NA-SEA-040-02-12 | NaN
D02 | Cy5-5 | Unkn | NA-SEA-040-03-20 | NaN
D03 | Cy5-5 | Unkn | NA-SEA-040-04-28 | NaN
D04 | Cy5-5 | Unkn | NA-SEA-040-05-36 | NaN
D05 | Cy5-5 | Unkn | NA-SEA-040-06-44 | NaN
D06 | Cy5-5 | Unkn | NA-SEA-040-07-52 | NaN
D07 | Cy5-5 | Unkn | NA-SEA-040-08-60 | NaN
D08 | Cy5-5 | Unkn | NA-SEA-040-09-68 | NaN
D09 | Cy5-5 | Unkn | NA-SEA-040-10-76 | NaN
D10 | Cy5-5 | Unkn | NA-SEA-040-11-84 | 35.5048
D11 | Cy5-5 | Pos Ctrl | Zk_0 | NaN
D12 | Cy5-5 | Pos Ctrl | Ck1_0 | 35.477
E01 | Cy5-5 | Unkn | NA-SEA-040-02-13 | NaN
E02 | Cy5-5 | Unkn | NA-SEA-040-03-21 | NaN
E03 | Cy5-5 | Unkn | NA-SEA-040-04-29 | NaN
E04 | Cy5-5 | Unkn | NA-SEA-040-05-37 | NaN
E05 | Cy5-5 | Unkn | NA-SEA-040-06-45 | NaN
E06 | Cy5-5 | Unkn | NA-SEA-040-07-53 | NaN
E07 | Cy5-5 | Unkn | NA-SEA-040-08-61 | NaN
E08 | Cy5-5 | Unkn | NA-SEA-040-09-69 | NaN
E09 | Cy5-5 | Unkn | NA-SEA-040-10-77 | NaN
E10 | Cy5-5 | Unkn | NA-SEA-040-11-85 | NaN
E11 | Cy5-5 | Pos Ctrl | 0 | NaN
E12 | Cy5-5 | Pos Ctrl | 0 | NaN
F01 | Cy5-5 | Unkn | NA-SEA-040-02-14 | NaN
F02 | Cy5-5 | Unkn | NA-SEA-040-03-22 | NaN
F03 | Cy5-5 | Unkn | NA-SEA-040-04-30 | NaN
F04 | Cy5-5 | Unkn | NA-SEA-040-05-38 | NaN
F05 | Cy5-5 | Unkn | NA-SEA-040-06-46 | NaN
F06 | Cy5-5 | Unkn | NA-SEA-040-07-54 | NaN
F07 | Cy5-5 | Unkn | NA-SEA-040-08-62 | NaN
F08 | Cy5-5 | Unkn | NA-SEA-040-09-70 | NaN
F09 | Cy5-5 | Unkn | NA-SEA-040-10-78 | NaN
F10 | Cy5-5 | Unkn | NA-SEA-040-11-86 | NaN
F11 | Cy5-5 | Pos Ctrl | 0 | NaN
F12 | Cy5-5 | Pos Ctrl | 0 | NaN
G01 | Cy5-5 | Unkn | NA-SEA-040-02-15 | NaN
G02 | Cy5-5 | Unkn | NA-SEA-040-03-23 | NaN
G03 | Cy5-5 | Unkn | NA-SEA-040-04-31 | NaN
G04 | Cy5-5 | Unkn | NA-SEA-040-05-39 | NaN
G05 | Cy5-5 | Unkn | NA-SEA-040-06-47 | NaN
G06 | Cy5-5 | Unkn | NA-SEA-040-07-55 | NaN
G07 | Cy5-5 | Unkn | NA-SEA-040-08-63 | NaN
G08 | Cy5-5 | Unkn | NA-SEA-040-09-71 | NaN
G09 | Cy5-5 | Unkn | NA-SEA-040-10-79 | NaN
G10 | Cy5-5 | Unkn | NA-SEA-040-11-87 | NaN
G11 | Cy5-5 | Pos Ctrl | 0 | NaN
G12 | Cy5-5 | Pos Ctrl | 0 | NaN
H01 | Cy5-5 | Unkn | NA-SEA-040-02-16 | NaN
H02 | Cy5-5 | Unkn | NA-SEA-040-03-24 | NaN
H03 | Cy5-5 | Unkn | NA-SEA-040-04-32 | NaN
H04 | Cy5-5 | Unkn | NA-SEA-040-05-40 | NaN
H05 | Cy5-5 | Unkn | NA-SEA-040-06-48 | NaN
H06 | Cy5-5 | Unkn | NA-SEA-040-07-56 | NaN
H07 | Cy5-5 | Unkn | NA-SEA-040-08-64 | NaN
H08 | Cy5-5 | Unkn | NA-SEA-040-09-72 | NaN
H09 | Cy5-5 | Unkn | NA-SEA-040-10-80 | NaN
H10 | Cy5-5 | Unkn | NA-SEA-040-11-88 | NaN
H11 | Cy5-5 | Neg Ctrl | NEG | NaN
H12 | Cy5-5 | NTC | NTC | NaN
A01 | FAM | Unkn | NA-SEA-040-02-09 | NaN
A02 | FAM | Unkn | NA-SEA-040-03-17 | NaN
A03 | FAM | Unkn | NA-SEA-040-04-25 | NaN
A04 | FAM | Unkn | NA-SEA-040-05-33 | NaN
A05 | FAM | Unkn | NA-SEA-040-06-41 | NaN
A06 | FAM | Unkn | NA-SEA-040-07-49 | NaN
A07 | FAM | Unkn | NA-SEA-040-08-57 | NaN
A08 | FAM | Unkn | NA-SEA-040-09-65 | NaN
A09 | FAM | Unkn | NA-SEA-040-10-73 | NaN
A10 | FAM | Unkn | NA-SEA-040-11-81 | NaN
A11 | FAM | Pos Ctrl | Zk_3 | 27.1405
A12 | FAM | Pos Ctrl | Ck1_3 | NaN
B01 | FAM | Unkn | NA-SEA-040-02-10 | NaN
B02 | FAM | Unkn | NA-SEA-040-03-18 | NaN
B03 | FAM | Unkn | NA-SEA-040-04-26 | NaN
B04 | FAM | Unkn | NA-SEA-040-05-34 | NaN
B05 | FAM | Unkn | NA-SEA-040-06-42 | NaN
B06 | FAM | Unkn | NA-SEA-040-07-50 | NaN
B07 | FAM | Unkn | NA-SEA-040-08-58 | NaN
B08 | FAM | Unkn | NA-SEA-040-09-66 | NaN
B09 | FAM | Unkn | NA-SEA-040-10-74 | NaN
B10 | FAM | Unkn | NA-SEA-040-11-82 | NaN
B11 | FAM | Pos Ctrl | Zk_2 | 29.7372
B12 | FAM | Pos Ctrl | Ck1_2 | NaN
C01 | FAM | Unkn | NA-SEA-040-02-11 | NaN
C02 | FAM | Unkn | NA-SEA-040-03-19 | NaN
C03 | FAM | Unkn | NA-SEA-040-04-27 | NaN
C04 | FAM | Unkn | NA-SEA-040-05-35 | NaN
C05 | FAM | Unkn | NA-SEA-040-06-43 | NaN
C06 | FAM | Unkn | NA-SEA-040-07-51 | NaN
C07 | FAM | Unkn | NA-SEA-040-08-59 | NaN
C08 | FAM | Unkn | NA-SEA-040-09-67 | NaN
C09 | FAM | Unkn | NA-SEA-040-10-75 | NaN
C10 | FAM | Unkn | NA-SEA-040-11-83 | NaN
C11 | FAM | Pos Ctrl | Zk_1 | 33.4719
C12 | FAM | Pos Ctrl | Ck1_1 | NaN
D01 | FAM | Unkn | NA-SEA-040-02-12 | NaN
D02 | FAM | Unkn | NA-SEA-040-03-20 | NaN
D03 | FAM | Unkn | NA-SEA-040-04-28 | NaN
D04 | FAM | Unkn | NA-SEA-040-05-36 | NaN
D05 | FAM | Unkn | NA-SEA-040-06-44 | NaN
D06 | FAM | Unkn | NA-SEA-040-07-52 | NaN
D07 | FAM | Unkn | NA-SEA-040-08-60 | NaN
D08 | FAM | Unkn | NA-SEA-040-09-68 | NaN
D09 | FAM | Unkn | NA-SEA-040-10-76 | NaN
D10 | FAM | Unkn | NA-SEA-040-11-84 | NaN
D11 | FAM | Pos Ctrl | Zk_0 | 37.2011
D12 | FAM | Pos Ctrl | Ck1_0 | NaN
E01 | FAM | Unkn | NA-SEA-040-02-13 | NaN
E02 | FAM | Unkn | NA-SEA-040-03-21 | NaN
E03 | FAM | Unkn | NA-SEA-040-04-29 | NaN
E04 | FAM | Unkn | NA-SEA-040-05-37 | NaN
E05 | FAM | Unkn | NA-SEA-040-06-45 | NaN
E06 | FAM | Unkn | NA-SEA-040-07-53 | NaN
E07 | FAM | Unkn | NA-SEA-040-08-61 | NaN
E08 | FAM | Unkn | NA-SEA-040-09-69 | NaN
E09 | FAM | Unkn | NA-SEA-040-10-77 | NaN
E10 | FAM | Unkn | NA-SEA-040-11-85 | NaN
E11 | FAM | Pos Ctrl | 0 | NaN
E12 | FAM | Pos Ctrl | 0 | NaN
F01 | FAM | Unkn | NA-SEA-040-02-14 | NaN
F02 | FAM | Unkn | NA-SEA-040-03-22 | NaN
F03 | FAM | Unkn | NA-SEA-040-04-30 | NaN
F04 | FAM | Unkn | NA-SEA-040-05-38 | NaN
F05 | FAM | Unkn | NA-SEA-040-06-46 | NaN
F06 | FAM | Unkn | NA-SEA-040-07-54 | NaN
F07 | FAM | Unkn | NA-SEA-040-08-62 | NaN
F08 | FAM | Unkn | NA-SEA-040-09-70 | NaN
F09 | FAM | Unkn | NA-SEA-040-10-78 | NaN
F10 | FAM | Unkn | NA-SEA-040-11-86 | NaN
F11 | FAM | Pos Ctrl | 0 | NaN
F12 | FAM | Pos Ctrl | 0 | NaN
G01 | FAM | Unkn | NA-SEA-040-02-15 | NaN
G02 | FAM | Unkn | NA-SEA-040-03-23 | NaN
G03 | FAM | Unkn | NA-SEA-040-04-31 | NaN
G04 | FAM | Unkn | NA-SEA-040-05-39 | NaN
G05 | FAM | Unkn | NA-SEA-040-06-47 | NaN
G06 | FAM | Unkn | NA-SEA-040-07-55 | NaN
G07 | FAM | Unkn | NA-SEA-040-08-63 | NaN
G08 | FAM | Unkn | NA-SEA-040-09-71 | NaN
G09 | FAM | Unkn | NA-SEA-040-10-79 | NaN
G10 | FAM | Unkn | NA-SEA-040-11-87 | NaN
G11 | FAM | Pos Ctrl | 0 | NaN
G12 | FAM | Pos Ctrl | 0 | NaN
H01 | FAM | Unkn | NA-SEA-040-02-16 | NaN
H02 | FAM | Unkn | NA-SEA-040-03-24 | NaN
H03 | FAM | Unkn | NA-SEA-040-04-32 | NaN
H04 | FAM | Unkn | NA-SEA-040-05-40 | NaN
H05 | FAM | Unkn | NA-SEA-040-06-48 | NaN
H06 | FAM | Unkn | NA-SEA-040-07-56 | NaN
H07 | FAM | Unkn | NA-SEA-040-08-64 | NaN
H08 | FAM | Unkn | NA-SEA-040-09-72 | NaN
H09 | FAM | Unkn | NA-SEA-040-10-80 | NaN
H10 | FAM | Unkn | NA-SEA-040-11-88 | NaN
H11 | FAM | Neg Ctrl | NEG | NaN
H12 | FAM | NTC | NTC | NaN
A01 | Texas Red | Unkn | NA-SEA-040-02-09 | NaN
A02 | Texas Red | Unkn | NA-SEA-040-03-17 | NaN
A03 | Texas Red | Unkn | NA-SEA-040-04-25 | NaN
A04 | Texas Red | Unkn | NA-SEA-040-05-33 | NaN
A05 | Texas Red | Unkn | NA-SEA-040-06-41 | NaN
A06 | Texas Red | Unkn | NA-SEA-040-07-49 | NaN
A07 | Texas Red | Unkn | NA-SEA-040-08-57 | NaN
A08 | Texas Red | Unkn | NA-SEA-040-09-65 | NaN
A09 | Texas Red | Unkn | NA-SEA-040-10-73 | NaN
A10 | Texas Red | Unkn | NA-SEA-040-11-81 | NaN
A11 | Texas Red | Pos Ctrl | Zk_3 | NaN
A12 | Texas Red | Pos Ctrl | Ck1_3 | NaN
B01 | Texas Red | Unkn | NA-SEA-040-02-10 | NaN
B02 | Texas Red | Unkn | NA-SEA-040-03-18 | NaN
B03 | Texas Red | Unkn | NA-SEA-040-04-26 | NaN
B04 | Texas Red | Unkn | NA-SEA-040-05-34 | NaN
B05 | Texas Red | Unkn | NA-SEA-040-06-42 | NaN
B06 | Texas Red | Unkn | NA-SEA-040-07-50 | NaN
B07 | Texas Red | Unkn | NA-SEA-040-08-58 | NaN
B08 | Texas Red | Unkn | NA-SEA-040-09-66 | NaN
B09 | Texas Red | Unkn | NA-SEA-040-10-74 | NaN
B10 | Texas Red | Unkn | NA-SEA-040-11-82 | NaN
B11 | Texas Red | Pos Ctrl | Zk_2 | NaN
B12 | Texas Red | Pos Ctrl | Ck1_2 | NaN
C01 | Texas Red | Unkn | NA-SEA-040-02-11 | NaN
C02 | Texas Red | Unkn | NA-SEA-040-03-19 | NaN
C03 | Texas Red | Unkn | NA-SEA-040-04-27 | NaN
C04 | Texas Red | Unkn | NA-SEA-040-05-35 | NaN
C05 | Texas Red | Unkn | NA-SEA-040-06-43 | NaN
C06 | Texas Red | Unkn | NA-SEA-040-07-51 | NaN
C07 | Texas Red | Unkn | NA-SEA-040-08-59 | NaN
C08 | Texas Red | Unkn | NA-SEA-040-09-67 | NaN
C09 | Texas Red | Unkn | NA-SEA-040-10-75 | NaN
C10 | Texas Red | Unkn | NA-SEA-040-11-83 | NaN
C11 | Texas Red | Pos Ctrl | Zk_1 | NaN
C12 | Texas Red | Pos Ctrl | Ck1_1 | NaN
D01 | Texas Red | Unkn | NA-SEA-040-02-12 | NaN
D02 | Texas Red | Unkn | NA-SEA-040-03-20 | NaN
D03 | Texas Red | Unkn | NA-SEA-040-04-28 | NaN
D04 | Texas Red | Unkn | NA-SEA-040-05-36 | NaN
D05 | Texas Red | Unkn | NA-SEA-040-06-44 | NaN
D06 | Texas Red | Unkn | NA-SEA-040-07-52 | NaN
D07 | Texas Red | Unkn | NA-SEA-040-08-60 | NaN
D08 | Texas Red | Unkn | NA-SEA-040-09-68 | NaN
D09 | Texas Red | Unkn | NA-SEA-040-10-76 | NaN
D10 | Texas Red | Unkn | NA-SEA-040-11-84 | NaN
D11 | Texas Red | Pos Ctrl | Zk_0 | NaN
D12 | Texas Red | Pos Ctrl | Ck1_0 | NaN
E01 | Texas Red | Unkn | NA-SEA-040-02-13 | NaN
E02 | Texas Red | Unkn | NA-SEA-040-03-21 | NaN
E03 | Texas Red | Unkn | NA-SEA-040-04-29 | NaN
E04 | Texas Red | Unkn | NA-SEA-040-05-37 | NaN
E05 | Texas Red | Unkn | NA-SEA-040-06-45 | NaN
E06 | Texas Red | Unkn | NA-SEA-040-07-53 | NaN
E07 | Texas Red | Unkn | NA-SEA-040-08-61 | NaN
E08 | Texas Red | Unkn | NA-SEA-040-09-69 | NaN
E09 | Texas Red | Unkn | NA-SEA-040-10-77 | NaN
E10 | Texas Red | Unkn | NA-SEA-040-11-85 | NaN
E11 | Texas Red | Pos Ctrl | 0 | NaN
E12 | Texas Red | Pos Ctrl | 0 | NaN
F01 | Texas Red | Unkn | NA-SEA-040-02-14 | NaN
F02 | Texas Red | Unkn | NA-SEA-040-03-22 | NaN
F03 | Texas Red | Unkn | NA-SEA-040-04-30 | NaN
F04 | Texas Red | Unkn | NA-SEA-040-05-38 | NaN
F05 | Texas Red | Unkn | NA-SEA-040-06-46 | NaN
F06 | Texas Red | Unkn | NA-SEA-040-07-54 | NaN
F07 | Texas Red | Unkn | NA-SEA-040-08-62 | NaN
F08 | Texas Red | Unkn | NA-SEA-040-09-70 | NaN
F09 | Texas Red | Unkn | NA-SEA-040-10-78 | NaN
F10 | Texas Red | Unkn | NA-SEA-040-11-86 | NaN
F11 | Texas Red | Pos Ctrl | 0 | NaN
F12 | Texas Red | Pos Ctrl | 0 | NaN
G01 | Texas Red | Unkn | NA-SEA-040-02-15 | NaN
G02 | Texas Red | Unkn | NA-SEA-040-03-23 | NaN
G03 | Texas Red | Unkn | NA-SEA-040-04-31 | NaN
G04 | Texas Red | Unkn | NA-SEA-040-05-39 | NaN
G05 | Texas Red | Unkn | NA-SEA-040-06-47 | NaN
G06 | Texas Red | Unkn | NA-SEA-040-07-55 | NaN
G07 | Texas Red | Unkn | NA-SEA-040-08-63 | NaN
G08 | Texas Red | Unkn | NA-SEA-040-09-71 | NaN
G09 | Texas Red | Unkn | NA-SEA-040-10-79 | NaN
G10 | Texas Red | Unkn | NA-SEA-040-11-87 | NaN
G11 | Texas Red | Pos Ctrl | 0 | NaN
G12 | Texas Red | Pos Ctrl | 0 | NaN
H01 | Texas Red | Unkn | NA-SEA-040-02-16 | NaN
H02 | Texas Red | Unkn | NA-SEA-040-03-24 | NaN
H03 | Texas Red | Unkn | NA-SEA-040-04-32 | NaN
H04 | Texas Red | Unkn | NA-SEA-040-05-40 | NaN
H05 | Texas Red | Unkn | NA-SEA-040-06-48 | 42.17
H06 | Texas Red | Unkn | NA-SEA-040-07-56 | NaN
H07 | Texas Red | Unkn | NA-SEA-040-08-64 | NaN
H08 | Texas Red | Unkn | NA-SEA-040-09-72 | NaN
H09 | Texas Red | Unkn | NA-SEA-040-10-80 | NaN
H10 | Texas Red | Unkn | NA-SEA-040-11-88 | NaN
H11 | Texas Red | Neg Ctrl | NEG | NaN
H12 | Texas Red | NTC | NTC | NaN

## list
Test | Source of specimens | Freezer | Profile name | primers -F | probe | primer- R | Taq polymerase | Machine | performing test | Positive control | specimen | Performers | Reviewers | STD | QA 1 | QA 2
Respiratory screening | gDNA | CTML-Eq-030 | Valid R | FA FOR | FA REV | FA REV | 2x qPCRBIO Probe Mix Lo-Rox | CT018164 | Real time PCR for leptospirosis (MDT001) | (1 to 10,000 GE/PCR reaction) | 200ul EDTA blood | Witchayoot Huangsuranun | Janjira Thaipadungpanit | Lepto gDNA | NTC, SDW and non-target DNA: Pass | Positive control: down to 1 copy | Oligo_ID Sequence_name Target Gene_target 5'_Mod 3'_Mod Sequence Order_Number Date_of_received Purification Company
Sputum screening | total RNA |  | WBBac00 | FB FOR | FB REV | FB REV | Platinum Supermix-UDG | CT057475 | Real time PCR for 16s rRNA (MDT002) | (1 to 10,000 Plasmid (GE)/PCR reaction) | 1ml EDTA blood | Kwanprapa Burana | Others: ________________ | E. coli gDNA | NTC and SDW : Pass BUT non-target DNA: Not pass | Positive control: down to 10 copy | OLI042 KW_Eub341-F2 Eubacteria 16SrRNA TRCGGGRGGCWGCA N201028-06 22 Aug 2023 HPLC Metabion
WB screening | plasmid DNA |  | WBBac01 | RH PROBE | RH4 FOR | RH4 FOR | Taqman multiplex master mix |  | Real time PCR for scrub typhus (47kDa) (MDT003) | (1 to 10,000 Plasmid/PCR reaction) |  | Janjira Thaipadungpanit |  | 47kDa plasmid | NTC and non-target DNA : Pass BUT SDW: Not pass | Positive control: down to 100 copy | OLI040 KW_Eub803-R Eubacteria 16SrRNA CTACCRGGGTATCTAATCC N201028-06 22 Aug 2023 HPLC Metabion
| EDTA whole blood |  | WBBac00G | RHEV REV | RSV PROBE | RSV PROBE | qScript® XLT One-Step RT-qPCR ToughMix®, Low ROXTM |  | Real time PCR for Rickettsia species (17kDa) (MDT004) |  |  | Ar-paporn |  | 17kDA plasmid | SDW and non-target DNA : Pass BUT NTC: Not pass |  | OLI041 KB_Eub16s-P Eubacteria 16SrRNA Texas Red ZNA-2-BHQ-2 GTGCCAGCAGCCG N201028-06 22 Aug 2023 HPLC Metabion
| Total Nucleic Acid | [5 empty] | qScript® XLT One-Step RT-qPCR ToughMix® |  | Real time PCR for murine typhus (OmpB) (MDT005) |  |  | Others: _________________________ |  | OmpB plasmid |  |  | OLI049 LS_Lep16s-F2 Leptospira 16SrRNA CCCGCGYCCGATTAG N201028-06 22 Aug 2023 HPLC Metabion
[9 empty] | Nested PCR for Hantavirus (MDT006) | [7 empty] | OLI050 LS_Lep16s-R2 Leptospira 16SrRNA GTCTCAGTTCCATTGTGGC N201028-06 22 Aug 2023 HPLC Metabion
[9 empty] | Real time PCR for leptospirosis and Rnase P (MDT001_TU) | [7 empty] | OLI066 LS_Lep16s-P Leptospira 16SrRNA Quasar705 BHQ-2 CTCACCAAGGCGACGATCGGTAGC 172722 22 Aug 2023 HPLC Metabion
OLI079 WH_RicGlt-F3 Rickettsia gltA TCGAGGATATGAYATTAAA N201028-06 18 Dec 2020 HPLC Metabion
OLI065 WH_RicGlt-R Rickettsia gltA CGCAAGCATAATAGCCATAGGA TH-20-0230 5 May 202 HAP U2Bio
OLI063 WH_RicGlt-P Rickettsia gltA 6-FAM ZNA-4-BHQ-1 ACTAATGMATGATGAGCAAYCT N201028-06 22 Aug 2023 HPLC Metabion
OLI051 PS_Ots16s-F O. tsutsug 16SrRNA CCCATCAGTACGGAATAACA TH-20-0230 22 Aug 2023 HPLC Metabion
OLI052 PS_Ots16s-R O. tsutsug 16SrRNA CTCTCAGACCAGCTACAGATCACA TH-20-0230 22 Aug 2023 HPLC Metabion
OLI053 PS_Ots16s-P2 O. tsutsug 16SrRNA Hex BHQ-1 GCGGCAGATTAGGTAGTTGGTAAGGT N201028-06 22 Aug 2023 HPLC Metabion
OLI061 WH_RicGlt-F2 Rickettsia gltA ATCGAGGATATGATATTAAAGACTTA N201028-06 22 Aug 2023 HPLC Metabion
OLI062 WH_RicGlt-F Rickettsia gltA ATCGAGGATATGATATTAAAGACTTAGCT TH-20-0230 5 May 202 HAP U2Bio
OLI064 WH_RicGlt-R2 Rickettsia gltA GCAAGCATAATAGCCATAGGA N201028-06 22 Aug 2023 HPLC Metabion
OLI068 LS_Lep16s-R Leptospira 16S rRNA TCCATTGTGGCCGRACAC HAP Macrogen
OLI037 RNaseP3-F Human RNaseP3 CCAAGTGTGAGGGCTGAAAAG N201028-06 18 Dec 2020 HPLC Metabion
OLI038 RNaseP3-R Human RNaseP3 TGTTGTGGCTGATGAACTATAAAAGG N201028-06 18 Dec 2020 HPLC Metabion
OLI039 RNaseP3-P Human RNaseP3 Cy5 BHQ-2 CCCCAGTCTCTGTCAGCACTCCCTTC N201028-06 18 Dec 2020 HPLC Metabion
OLI069 JJ_Ots47k-F O. tsutsug 47kDa AACTGATTTTATTCAAACTAATGCTGCT Macrogen
OLI071 JJ_Ots47k-P O. tsutsug 47kDa 6-FAM BHQ1 TGGGTAGCTTTGGTGGACCGATGTTTAATCT Macrogen
OLI070 JJ_Ots47k-R O. tsutsug 47kDa TATGCCTGAGTAAGATACRTGAATRGAATT Macrogen
OLI067 LS_Lep16s-F Leptospira 16S rRNA HAP Macrogen
OLI0 V1 Eubacteria 16SrRNA HAP Macrogen
OLI0 V2 Eubacteria 16SrRNA HAP Macrogen
OLI0 V1/V3 probe Eubacteria 16SrRNA Macrogen
OLI072 JJ_Ric17k-F Rickettsia 17kDa GGGCGGTATGAAYAAACAAG HAP Macrogen
OLI074 JJ_Ric17k-R Rickettsia 17kDa CCTACACCTACTCCVACAAG HAP Macrogen
OLI073 JJ_Ric17k-P Rickettsia 17kDa FAM ZEN-BHQ1 CCGAATTGAGAACCAAGTAATGC IDT

## 96well
Reaction | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
A | 1 | 9 | 17 | 25 | 33 | 41 | 49 | 57 | 65 | 73 | 81 | 81 | 89
B | 2 | 10 | 18 | 26 | 34 | 42 | 50 | 58 | 66 | 74 | 82 | 82 | 90
C | 3 | 11 | 19 | 27 | 35 | 43 | 51 | 59 | 67 | 75 | 83 | 83 | 91
D | 4 | 12 | 20 | 28 | 36 | 44 | 52 | 60 | 68 | 76 | 84 | 84 | 92
E | 5 | 13 | 21 | 29 | 37 | 45 | 53 | 61 | 69 | 77 | 85 | 85 | 93
F | 6 | 14 | 22 | 30 | 38 | 46 | 54 | 62 | 70 | 78 | 86 | 86 | 94
G | 7 | 15 | 23 | 31 | 39 | 47 | 55 | 63 | 71 | 79 | 87 | 87 | 95
H | 8 | 16 | 24 | 32 | 40 | 48 | 56 | 64 | 72 | 80 | 88 | 88 | 96